Ministry of Health

National Public Health Laboratories

Kenya External Quality Assessment Scheme (KNEQAS)

Instructions on Appropriate Transportation of PT Material to Participants

Applicability:

  - Distributing agency (from KNEQAS to participants/regions)

  - Sub county QA officers (from Sub-county offices to participants) – Where applicable

- Collection of PT material from KNEQAS

Confirm that:

  - Documented content corresponds with parcel content

  - Parcels are well Packaged (rigid boxes and sealed)

  - Parcels are labeled well (Clearly addressed, bio-hazard mark in place, transportation temperature indicated)

- Transportation from KNEQAS to participants/ sub county QA officers

  - Handle as if fragile

  - Maintain in packaging material through-out

  - Transport in temperature conditions indicated on label

  - Deliver to addressee without undue delay

  - Document proof of delivery

- Transportation from Sub- county to participants (Health facility)- where applicable

  - Sort out panels per facility.

  - Deliver panels to participants’ facilities without undue delay.

  - Document and maintain proof of delivery.

  - Communicate to KNEQAS in case of any issues of concern eg (missing panels).

Contacts for enquiries

All inquires, compliments, comments, assistance can be channeled through any of the below contacts

| Kenya External Quality Assessment Scheme (KNEQAS) National Public Health Laboratories Kenyatta National Hospital Grounds P.O Box 20750 – 00202 , Nairobi | - KNEQAS Email – nphlpt@nphl.go.ke - Scheme Coordinator/Manager - 0721397766 - Scheme data manager – 0721825737. - KNEQAS Help desk at… http://helpdesk.nphl.go.ke/ |
| --- | --- |